## U.S LDES projects
# | Tech provider | Project name | Website | Customer/Owner | State | Power [MW] | Energy [MWh] | Duration [h] | Type | Status
1 | ESS |  | https://essinc.com/ | Sacramento Municipality Utility | California | 0.3 | 3 | 12 | Iron Flow Battery | Operational
2 | Sage Geosystems |  | https://www.sagegeosystems.com/ | NA | Texas | 0.2 | 3.6 | 18 | Geopressured Geothermal System (GGS) | Operational
3 | Invinity |  | https://invinity.com/case-study-soboba-fire-station/#:~:text=Invinity%20has%20delivered%20a%200.5,Station%20near%20San%20Jacinto%2C%20California. | Soboba Band of Luiseño Indians | California | 0.05 | 0.5 | 10 | Vanadium Flow battery | Operational
4 | ESS |  | https://essinc.com/ | TerraSol Energies | Pensylvania | 0.075 | 0.5 | 7 | Iron Flow Battery | Operational
5 | ESS |  | https://essinc.com/ | Burbank Water and Power | California | 0.075 | 0.5 | 7 | Iron Flow Battery | Operational
6 | Abengoa |  | https://solarpaces.nrel.gov/project/solana-generating-station | Atlantica Sustainable Infrastructure Liberty Interactive Corporation | Arizona | 250 | 1500 | 6 | Thermal Energy Storage | Operational
7 | PowerSouth Energy Cooperative | McIntosh CAES Plant | https://www.baldwinemc.com/compressed-air-energy-storage-technology-generating-electricity-out-of-thin-air/ | PowerSouth Energy Cooperative | Alabama | 110 | 2860 | 26 | Compressed air storage | Operational
8 | Vistra Energy |  | https://www.vistracorp.com/ | Vistra Energy | California | 300 | 1200 | 4 | Li-Ion | Operational
9 |  | Yards Creek Pumped Storage | http://www.pseg.com/family/power/fossil/stations/yardscreek.jsp | PSEG Fossil, FirstEnergy Corp. | New Jersey | 151 | 906 | 6 | Pumped hydro storage | Operational
10 |  | Cabin Creek Generating Station | https://www.colorado.gov/pacific/sites/default/files/13WaterResources1010Cabin%20Creek.pdf | Xcel Energy | Colorado | 324 | 1296 | 4 | Pumped hydro storage | Operational
11 |  | San Luis (William R. Gianelli) Pumped Storage Hydroelectric Powerplant | https://www.usbr.gov/projects/pdf.php?id=55 | U S Bureau of Reclamation (45%); California Dept. of Water Resources (55%) | California | 53 | 424 | 8 | Pumped hydro storage | Operational
12 |  | Northfield Mountain Pumped Storage Hydroelectricity Facility | http://gdfsuezna.com/northfield-mountain/ | FirstLight Power Resources (GDF Suez Energy North America) | Massachusetts | 1119 | 8482.02 | 7.58 | Pumped hydro storage | Operational
13 |  | Castaic Pumped-Storage Plant | http://ekwestrel.com/castaic-lake-hydroelectric-power-plant-facility/castaic-lake-hydroelectric-power-plant-facility/ | Los Angeles Department of Water and Power, Department of Water Resources of the State of California | California | 1247 | 12470 | 10 | Pumped hydro storage | Operational
14 |  | Ludington Pumped Storage | http://www.consumersenergy.com/content.aspx?id=1830 | Consumers Energy Co (51%), Detroit Edison (DTE) Electric Company(49%) | Michigan | 2172 | 19548 | 9 | Pumped hydro storage | Operational
15 | HDR | John W. Keys III Pump-Generating Plant | http://www.usbr.gov/pn/grandcoulee/pubs/powergeneration.pdf | Bonneville Power Administration | Washington | 314 | 25120 | 80 | Pumped hydro storage | Operational
16 | Hitachi | Blenheim-Gilboa Pumped Storage Power Project | http://www.nypa.gov/facilities/blengil.htm | New York Power Authority (NYPA) | New York | 1160 | 17400 | 15 | Pumped hydro storage | Operational
17 | Hitachi | Bear Swamp Hydroelectric Power Station | http://www.berkshireeagle.com/local/ci_27767841/bear-swamp-hydroelectric-generation-project-up-license-renewal | Brookfield Power, Inc., Emera, Inc. | Massachusetts | 600 | 3000 | 5 | Pumped hydro storage | Operational
18 |  | Raccoon Mountain Pumped Storage Plant | https://tva.com/Energy/Our-Power-System/Hydroelectric/Raccoon-Mountain | Tennessee Valley Authority | Tennessee | 1652 | 36344 | 22 | Pumped hydro storage | Operational
19 |  | Fairfield Pumped Storage | http://parrfairfieldrelicense.com/documents/quarterlypublicmeeting/Projectpresentation1-13.pdf | South Carolina Electric and Gas Co. | South Carolina | 511.2 | 3563.064 | 6.97 | Pumped hydro storage | Operational
20 |  | Mount Elbert Power Plant | http://www.usbr.gov/projects/Powerplant.jsp?fac_Name=Mount+Elbert+Powerplant | Bureau of Reclamation | Colorado | 200 | 2400 | 12 | Pumped hydro storage | Operational
21 |  | Big Creek (John S. Eastwood) Pumped Storage | http://newsroom.edison.com/stories/big-creek-hydroelectric-system-produces-hardest-working-water-in-the-world | Southern California Edison | California | 199.8 | 3530.466 | 17.67 | Pumped hydro storage | Operational
22 | Dresser-Rand | McIntosh CAES Plant - Unit 1 Facility Stores Compressed Air in a Solution-mined Salt Cavern | http://www.powersouth.com/wp-content/uploads/2017/07/CAES-Brochure-FINAL.pdf | PowerSouth Energy Cooperative | Alabama | 110 | 2860 | 26 | Compressed air energy storage | Operational
23 | CALMAC | JC Penney Headquarters - Calmac | http://www.calmac.com/press-release-jcpenney-headquarters-benefits-from-25-years-of-energy-storage-using-calmac-icebank-technology | JC Penney | Texas | 4.425 | 53.1 | 12 | Latent heat | Operational
24 |  | Bad Creek Pumped Hydro Storage | http://www.duke-energy.com/power-plants/pumped-storage-hydro/bad-creek.asp | Duke Energy | South Carolina | 1065 | 25560 | 24 | Pumped hydro storage | Operational
25 | DN Tanks | VA Medical Center | https://www.dntanks.com/projects/va-medical-center/ | The Dallas, Texas Veterans Administration | Texas | 2.3 | 18.4 | 8 | Sensible heat | Operational
26 | TAS Energy | TAS Thermal Storage with Combined-Cycle Cogeneration Plant | http://www.storagealliance.org/sites/default/files/whystorage/Calpine-Clear-Lake-Project-Profile-2-2-2012.pdf | Calpine Clear Lake Cogeneration, Inc. | Texas | 5.1 | 51 | 10 | Sensible heat | Operational
27 | CALMAC | University of Arizona - Calmac | http://www.calmac.com/large-energy-storage-project-university-of-arizona | University of Arizona | Arizona | 3 | 18 | 6 | Latent heat | Operational
28 | NGK Insulators Ltd. | AEP Bluffton NaS Energy Storage System | https://energy.gov/sites/prod/files/2014/06/f17/EACJune2014-2Weaver.pdf | American Electric Power (AEP) | Ohio | 2 | 12 | 6 | Sodium-based battery | Operational
29 | NGK Insulators Ltd. | XCEL NGK MinnWind Wind-to-Battery Project | https://www.xcelenergy.com/staticfiles/xe/Corporate/Renewable%20Energy%20Grants/Milestone%206%20Final%20Report%20PUBLIC.pdf | Xcel Energy | Minnesota | 1 | 7.2 | 7.2 | Sodium-based battery | Operational
30 | NGK Insulators Ltd. | AEP Milton NaS Battery Energy Storage System | https://www.aep.com/Newsroom/newsreleases/?id=1397 | American Electric Power (AEP) | West Virginia | 2 | 12 | 6 | Sodium-based battery | Operational
31 | NGK Insulators Ltd. | AEP Churubusco NaS Battery Energy Storage System | https://energy.gov/sites/prod/files/2014/06/f17/EACJune2014-2Weaver.pdf | American Electric Power (AEP) | Indiana | 2 | 12 | 6 | Sodium-based battery | Operational
32 | DN Tanks | TAS Texas Cooperative | https://www.dntanks.com/projects/tes-for-jacksboros-natural-gas-power-plant/ | Brazos Electric Cooperative | Texas | 90 | 1080 | 12 | Sensible heat | Operational
33 | NGK Insulators Ltd. | Long Island Bus BESS - New York Power Authority | http://www.sandia.gov/ess/docs/pr_conferences/2009/eckroad.pdf | Metro Transit Authority (NYC) | New York | 1 | 6.5 | 6.5 | Sodium-based battery | Operational
34 |  | Disney California Adventure | http://www.districtenergy.org/assets/pdfs/2013CampConference/Wednesday/Track-B/1B.1HYMANGENTRYHODCATESPresentation.pdf | Walt Disney Parks and Resorts | California | 2 | 8 | 4 | Sensible heat | Operational
35 | Ice Energy | Redding Electric Utilities (Phase 1) - Ice Energy | http://www.redding.com/story/opinion/contributors/local-voices/2009/08/27/reu_on_ice/96762048/ | Redding Electric Utility | California | 1 | 6 | 6 | Latent heat | Operational
36 | NGK Insulators Ltd. | PG&E Vaca Battery Energy Storage Pilot Project | http://www.greentechmedia.com/articles/read/energy-storage-at-grid-scale-pge-projects | Pacific Gas and Electric Company | California | 2 | 14 | 7 | Sodium-based battery | Operational
37 | VCharge, Inc. | Pennsylvania ATLAS (Aggregated Transactive Load Asset) | http://vcharge-energy.com/projects/ | VCharge, Inc. | Pennsylvania | 2.01 | 10.05 | 5 | Heat thermal storage | Operational
38 | Abengoa Solar | Solana Solar Generating Plant | http://www.abengoasolar.com/export/sites/abengoasolar/resources/pdf/Solana_factsheet_09092013.pdf | Abengoa Solar, Liberty Ventures Group | Arizona | 280 | 1680 | 6 | Sensible heat | Operational
39 | DN Tanks | Bucknell University Thermal Energy Storage | http://www.dntanks.com/projects/thermal-energy-storage-for-bucknell-university/ | Bucknell University | Pennsylvania | 1 | 8 | 8 | Sensible heat | Operational
40 | DN Tanks | State of North Carolina - DN Tanks | http://www.dntanks.com/projects/thermal-energy-storage-in-north-carolina/ | The State of North Carolina | North Carolina | 2.59 | 20.72 | 8 | Sensible heat | Operational
41 | SolarReserve | Crescent Dunes Solar Energy Project | http://www.solarreserve.com/en/global-projects/csp/crescent-dunes | Tonopah Solar Energy, LLC | Nevada | 110 | 1100 | 10 | Sensible heat | Operational
42 | Tesla | California State University Long Beach Campus - AMS | https://www2.calstate.edu/csu-system/news/Pages/California-State-University-and-Advanced-Microgrid-Solutions-Announce-a-Portfolio-of-State-of-the-Art-Hybrid-Electric-Build.aspx | - | California | 1 | 6 | 6 | Lithium-ion battery | Operational
43 | General Electric | Deepwater Wind-New York | http://renewables.seenews.com/news/deepwater-wind-plans-90-mw-offshore-wind-15-mw-storage-in-ny-504865 | Deepwater Wind LLC | New York | 15 | 60 | 4 | Lithium-ion battery | Operational
44 |  | Olivenhain-Hodges Storage Project | http://www.sdcwa.org/lake-hodges-projects | San Diego County Water Authority | California | 21 | 126 | 6 | Pumped hydro storage | Operational
45 |  | Olivenhain-Hodges Storage Project | http://www.sdcwa.org/lake-hodges-projects | San Diego County Water Authority | California | 21 | 126 | 6 | Pumped hydro storage | Operational
46 |  | Nissan Technical Center North America | http://www.calmac.com/ | Nissan | Michigan | 1.425 | 22.8 | 16 | Latent heat | Operational
47 | DN Tanks | University of Central Florida - DN Tanks | https://www.dntanks.com/projects/the-university-of-central-floridas-tes-tank/ | The University of Central Florida | Florida | 3 | 24 | 8 | Sensible heat | Operational
48 | CALMAC | Los Angeles Community College District - Calmac | http://www.green-technology.org/gcccollege-gcschools/images/LACCD_Sustainable_Building_Pgm_1.pdf | Los Angeles Community College District | California | 4.62 | 27.72 | 6 | Latent heat | Operational
49 | NGK Insulators Ltd. | Japan-US Collaborative Smart Grid Project | http://www.nedo.go.jp/content/100503811.pdf | New Energy and Industrial Technology Development Organization (NEDO) | New Mexico | 1 | 6 | 6 | Sodium-based battery | Operational
50 | CALMAC | Nordstrom (Ala Moana Center) - Calmac | http://the.honoluluadvertiser.com/article/2008/Mar/18/bz/hawaii803180341.html | Nordstrom, Inc. | Hawaii | 1.2 | 7.2 | 6 | Latent heat | Operational
51 | NGK Insulators Ltd. | Yerba Buena Battery Energy Storage Pilot Project - Pacific Gas & Electric Company | http://www.pge.com/about/newsroom/newsreleases/20130523/pge_energy_commission_unveil_battery_energy_storage_in_san_jose.shtml | Pacific Gas and Electric Company | California | 4 | 28 | 7 | Sodium-based battery | Operational
52 |  | Escondido Energy Storage | http://sdgenews.com/battery-storage/sdge-unveils-world%E2%80%99s-largest-lithium-ion-battery-storage-facility | SDG&E | California | 30 | 120 | 4 | Lithium-ion battery | Operational
53 | CALMAC Corp. | Pueblo Air Cooled Run Test Facility - Calmac | http://www.calmac.com/how-energy-storage-works | Ingersoll Rand | Colorado | 3.517 | 14.068 | 4 | Latent heat | Operational
54 | NGK Insulators Ltd. | Charleston NaS Energy Storage Project - AEP | http://www.sandia.gov/ess/docs/pr_conferences/2006/nourai.pdf | American Electric Power (AEP) | West Virginia | 1.2 | 7.2 | 6 | Sodium-based battery | Operational
55 | NGK Insulators Ltd. | SCE Catalina Island Energy Storage | https://www.sandc.com/globalassets/sac-electric/content-callouts/solutions/edoc_075872.pdf | Southern California Edison | California | 1 | 6.8 | 6.8 | Sodium-based battery | Operational
56 | Samsung SDI | SDG&E El Cajon Substation - AES | http://www.aes.com/investors/press-releases/press-release-details/2016/AES-to-Deploy-375-MW-of-Advancion-Energy-Storage-Arrays-for-SDGE/default.aspx | San Diego Gas & Electric (SDG&E) | California | 7.5 | 30 | 4 | Lithium-ion battery | Operational
57 | Samsung SDI | Santa Paula 1 - Western Grid Development LLC | https://www.sce.com/NR/sc3/tm2/pdf/3454-E.pdf | Western Grid Development LLC | California | 5 | 20 | 4 | Lithium-ion battery | Operational
58 |  | AltaGas Pomona Energy - SCE / Greensmith Energy | http://www.greensmithenergy.com/greensmith-altagas-receive-grid-edge-award-record-setting-pomona-energy-storage-project | AltaGas | California | 20 | 80 | 4 | Lithium-ion battery | Operational
59 | Samsung | Clinton County BESS - Exelon / RES | http://www.prnewswire.com/news-releases/exelon-generation-and-res-announce-10-mw-battery-storage-project-300254050.html | Exelon Generation | Ohio | 10 | 250 | 25 | Lithium-ion battery | Operational
60 | CALMAC | ConEdison Interoperability of Demand Response Resources: Thermal | https://smartgrid.gov/project/consolidated_edison_company_ny_interoperability_demand_response_resources_demonstration_ny/ | Verizon | New York | 1 | 10 | 10 | Latent heat | Operational
61 | Dresser-Rand | Bethel Energy Center - Apex Compressed Air Energy Storage - 317 MW Compressed Air Energy Storage | http://www.apexcaes.com/bethel-energy-center | Apex Compressed Air Energy Storage | Texas | 317 | 30432 | 96 | Compressed air energy storage | Operational
62 | CALMAC | Shell Point Retirement Village | http://www.calmac.com/stuff/contentmgr/files/0/9e42be7ce800b33ed5d169183104947a/files/shellpointcasestudy.pdf | Shell Point Retirement Village | Florida | 4.8 | 28.8 | 6 | Latent heat | Operational
63 | DN Tanks | Cache Creek Casino | http://www.dntanks.com/projects/cache-creek-casino-tes-tank/ | Cache Creek Casino Resort | California | 1.3 | 7.8 | 6 | Sensible heat | Operational
64 | DN Tanks | Texas Instruments Manufacturing Plant | http://www.dntanks.com/project-profiles.htm | Texas Instruments | Texas | 6.4 | 51.2 | 8 | Sensible heat | Operational
65 | AES Energy Storage | AES Alamitos Energy Storage Array | http://www.aesenergystorage.com/2014/11/05/aes-help-sce-meet-local-power-reliability-20-year-power-purchase-agreement-energy-storage-california-new-facility-will-provide-100-mw-interconnected-storage-equivalent-200-mw/?utm_source=Energy+Storage+Report&amp;utm_campaign=859e0b3526-ESR_2_10_1210_2_2012&amp;utm_medium=email&amp;utm_term=0_bd57f7e9aa-859e0b3526-80843329 | AES Southland | California | 100 | 400 | 4 | Lithium-ion battery | Operational
66 |  | UCSD Thermal Storage Tank | http://ssi.ucsd.edu/index.php?option=com_content&amp;amp;view=article&amp;amp;id=416:smart-power-generation-at-ucsd-november-1-2010&amp;amp;catid=8:newsflash&amp;amp;Itemid=20 | UCSD | California | 4 | 16 | 4 | Sensible heat | Operational
67 |  | Underwriters Laboratories - Calmac | http://www.calmac.com/underwriters-laboratories | Underwriters Laboratories | Illinois | 1.25 | 17.5 | 14 | Latent heat | Operational
68 | EnerSys | New York City 1 MW Aggregated BTM - Glenwood Management | https://www.multihousingnews.com/post/glenwood-to-build-distributed-energy-storage-for-nyc-apartments/ | Glenwood Management | New York | 1 | 4 | 4 | Lead-acid battery | Operational
69 | CALMAC | Sarasota County School District | http://www.calmac.com/sarasota-county-school-district-achieves-20-mw | Sarasota County | Florida | 20 | 160 | 8 | Latent heat | Operational
70 |  | UCI Microgrid: Thermal Storage | http://www.energy.ca.gov/research/notices/2015-09-30_workshop/presentations/03_UC_Irvine_Deployment_and_Integration_of_Renewables_at_UCI_9-30-15_Lynwood.pdf | University of California Irvine | California | 6.59 | 52.72 | 8 | Sensible heat | Operational
71 | CALMAC | Rockefeller Center Thermal Storage | http://www.calmac.com/energy-storage-case-study-rockefeller-center | Tishman Speyer | New York | 1.025 | 15.375 | 15 | Latent heat | Operational
72 | TAS Energy | Power Station Generation Storage | http://www.tas.com/energy-storage.html | PECO/Exelon Corporation | Pennsylvania | 6 | 48 | 8 | Sensible heat | Operational
73 |  | mccoy solar hybrid |  |  | California | 230 | 920 | 4 | Lithium-ion battery | Operational
74 |  | babcock solar center hybrid |  |  | Florida | 10 | 40 | 4 | Lithium-ion battery | Operational
75 |  | citrus solar center hybrid |  |  | Florida | 4 | 16 | 4 | Lithium-ion battery | Operational
76 |  | blythe solar ii llc | https://lorenz-g.github.io/tesla-megapack-tracker/projects/64.html |  | California | 115 | 460 | 4 | Lithium-ion battery | Operational
77 |  | mira loma facility |  |  | California | 10 | 40 | 4 | Lithium-ion battery | Operational
78 |  | mira loma facility |  |  | California | 10 | 40 | 4 | Lithium-ion battery | Operational
79 |  | pinal central center hybrid |  |  | Arizona | 10 | 40 | 4 | Lithium-ion battery | Operational
80 |  | hebt wla 1 |  | Sk Holdings Co. Ltd. (50%); SUSI Partners AG (50%) | California | 1 | 6.9 | 6.9 | Lithium-ion battery | Operational
81 |  | hebt irvine 1 |  | Macquarie Capital | California | 1 | 6.5 | 6.5 | Lithium-ion battery | Operational
82 |  | hebt irvine 1 |  | Macquarie Capital | California | 4.5 | 27 | 6 | Lithium-ion battery | Operational
83 |  | hebt irvine 2 |  | Macquarie Capital | California | 2.5 | 15 | 6 | Lithium-ion battery | Operational
84 |  | hebt irvine 2 |  | Macquarie Capital | California | 3.3 | 19.8 | 6 | Lithium-ion battery | Operational
85 |  | aes es gilbert |  |  | Arizona | 10 | 40 | 4 | Lithium-ion battery | Operational
86 |  | punkin center |  |  | Arizona | 2 | 8 | 4 | Lithium-ion battery | Operational
87 |  | I25 Battery Storage |  |  | Colorado | 4 | 16 | 4 | Lithium-ion battery | Operational
88 |  | gmp solarstoragemilton hybrid |  | GMP VT Microgrid LLC | Vermont | 2 | 8 | 4 | Lithium-ion battery | Operational
89 |  | gmp solarstorageferrisburgh hybrid |  | GMP VT Microgrid LLC | Vermont | 2 | 8 | 4 | Lithium-ion battery | Operational
90 |  | gmp solarstorageessex hybrid |  | GMP VT Microgrid LLC | Vermont | 2 | 8 | 4 | Lithium-ion battery | Operational
91 |  | orange county 2 |  |  | California | 9 | 36 | 4 | Lithium-ion battery | Operational
92 |  | orange county 3 |  |  | California | 6 | 24 | 4 | Lithium-ion battery | Operational
93 |  | east hampton center |  |  | New York | 5 | 40 | 8 | Lithium-ion battery | Operational
94 |  | montauk center |  |  | New York | 5 | 40 | 8 | Lithium-ion battery | Operational
95 |  | 98th street |  |  | New York | 2 | 12 | 6 | Lithium-ion battery | Operational
96 |  | wildcat i llc |  |  | California | 3 | 12 | 4 | Lithium-ion battery | Operational
97 |  | hecate johanna facility |  |  | California | 10 | 40 | 4 | Lithium-ion battery | Operational
98 |  | hecate johanna facility |  |  | California | 10 | 40 | 4 | Lithium-ion battery | Operational
99 |  | cronin road solar 1 llc csg hybrid |  |  | Massachusetts | 1.5 | 7.7 | 5.1333 | Lithium-ion battery | Operational
100 |  | aes kekaha solar llc hybrid |  |  | Hawaii | 14 | 70 | 5 | Lithium-ion battery | Operational
101 |  | san diego zoo |  |  | California | 1 | 4 | 4 | Lithium-ion battery | Operational
102 |  | middletown solar 1 llc hybrid csg |  |  | New York | 1.6 | 6.6 | 4.125 | Lithium-ion battery | Operational
103 |  | solar bess hybrid |  | Gas South | Georgia | 1 | 4 | 4 | Lithium-ion battery | Operational
104 |  | ny3 |  |  | New York | 3 | 12 | 4 | Lithium-ion battery | Operational
105 |  | allergan |  | Sk Holdings Co. Ltd. (50%); SUSI Partners AG (50%) | California | 1.5 | 9 | 6 | Lithium-ion battery | Operational
106 |  | baker |  | Sk Holdings Co. Ltd. (50%); SUSI Partners AG (50%) | California | 1.2 | 6.3 | 5.25 | Lithium-ion battery | Operational
107 |  | csu long beach |  | Sk Holdings Co. Ltd. (50%); SUSI Partners AG (50%) | California | 2.5 | 15 | 6 | Lithium-ion battery | Operational
108 |  | dats |  | Sk Holdings Co. Ltd. (50%); SUSI Partners AG (50%) | California | 1 | 6 | 6 | Lithium-ion battery | Operational
109 |  | downey |  | Sk Holdings Co. Ltd. (50%); SUSI Partners AG (50%) | California | 2 | 13 | 6.5 | Lithium-ion battery | Operational
110 |  | lawrp |  | Sk Holdings Co. Ltd. (50%); SUSI Partners AG (50%) | California | 1 | 5 | 5 | Lithium-ion battery | Operational
111 |  | long beach convention center |  | Sk Holdings Co. Ltd. (50%); SUSI Partners AG (50%) | California | 1.5 | 8.6 | 5.7333 | Lithium-ion battery | Operational
112 |  | ocsd |  | Sk Holdings Co. Ltd. (50%); SUSI Partners AG (50%) | California | 4.9 | 32.6 | 6.6531 | Lithium-ion battery | Operational
113 |  | soccd |  | Sk Holdings Co. Ltd. (50%); SUSI Partners AG (50%) | California | 1.3 | 7.2 | 5.5385 | Lithium-ion battery | Operational
114 |  | silverstrand grid |  |  | California | 11 | 44 | 4 | Lithium-ion battery | Operational
115 |  | saticoy |  |  | California | 100 | 400 | 4 | Lithium-ion battery | Operational
116 |  | cal flats bess |  |  | California | 60 | 242 | 4.0333 | Lithium-ion battery | Operational
117 |  | desert harvest ii llc |  |  | California | 35 | 140 | 4 | Lithium-ion battery | Operational
118 |  | horn rapids solar and training |  |  | Washington | 1 | 4 | 4 | Lithium-ion battery | Operational
119 |  | volney ii |  |  | New York | 3 | 12 | 4 | Lithium-ion battery | Operational
120 |  | wynwood |  |  | Florida | 10 | 40 | 4 | Lithium-ion battery | Operational
121 |  | kearsarge haverhill |  |  | Massachusetts | 2 | 9 | 4.5 | Lithium-ion battery | Operational
122 |  | dunstable solar 1 llc |  |  | Massachusetts | 4.5 | 20.2 | 4.4889 | Lithium-ion battery | Operational
123 |  | sanborn bess 2 |  |  | California | 100 | 400 | 4 | Lithium-ion battery | Operational
124 |  | redwood coast airport microgrid |  |  | California | 2.2 | 8.8 | 4 | Lithium-ion battery | Operational
125 |  | 59 federal rdcsg |  |  | Massachusetts | 5 | 20.5 | 4.1 | Lithium-ion battery | Operational
126 |  | 71 charlotte furnace rd hybridcsg |  |  | Massachusetts | 1 | 5.4 | 5.4 | Lithium-ion battery | Operational
128 |  | Chukar Battery Energy Storage System |  |  | Nevada | 10 | 40 | 4 | Lithium-ion battery | Operational

## criteria
# | Criteria | Notes and description | Qualification value
1 | Technology type | Li-ion, PSH, TES, CAES, Mechanical, Chemical etc.
2 | Rated power capacity | What is the nameplate power capacity of the energy storage project in electrical equivalent units [MWe] | 1000 kW == 1 MW
3 | Rated energy capacity | What is the nameplate energy capacity of the energy storage project in electrical equivalent units [MWhe] | more than 4 MW-hr 4000 kW-hr More than 4 hours
4 | Number of operation projects | How many operational units forms part of the project? Is this a numbered up modular system, or one single large storage unit.
5 | Owner/operator/manager | Who is the owner/operator of the unit?
6 | Technology provider | Technology solution provider/ vendor who sells the unit. This can be the developer, or not.
7 | EPC, if applicable | Who is the EPC, if other than the tech provider, owner or developer.
8 | Developer | Who is the developer, if other than the tech provider, owner, EPC or operator?
9 | Hybrid project | Is this projects paired with a generation asset as well, such as wind, solar, nuclear, industrial process, natural gas, coal etc.
10 | Operational experience | Duration of operation, frequency of breakdown and issues
11 | Charge and discharge capability | Can the unit be charged and discharged at the same time
12 | Commissioning/operational status | Have the energo storage project been commissioned/ completed | Operational only
13 | Physical location | State/county etc.
14 | Use case /application | What grid service the the LDES technology provideing to the grid? Fast frequency response, inertia, reactive power management, voltage regulation, fualt ride-through, energy arbitrage, etc.